{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":29,"n_cols":3,"rows_kept":29,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[null,"Наименование Powerware","Расшифровка наименования."]
[]
["05147361-5501","Powerware 9120 700 VA (PW9120 700)","ИБП PW9120 700 ВА/ 490 Вт с внутренней батареей"]
["05147362-5501","Powerware 9120 1000 VA (PW9120 1000)","ИБП PW9120 1000 ВА/ 700 Вт с внутренней батареей"]
["05147363-5501","Powerware 9120 1500 VA (PW9120 1500)","ИБП PW9120 1500 ВА/ 1050 Вт с внутренней батареей"]
["05147364-5501","Powerware 9120 2000 VA (PW9120 2000)","ИБП PW9120 2000 ВА/ 1400 Вт с внутренней батареей"]
["05147365-5501","Powerware 9120 3000 VA (PW9120 3000)","ИБП PW9120 3000 ВА/ 2100 Вт с внутренней батареей"]
[1018289,"Powerware 9120 5000 VA (PW9120 5000)","ИБП PW9120 5000 ВА/ 3500 Вт с внутренней батареей"]
[1018290,"Powerware 9120 6000 VA (PW9120 6000)","ИБП PW9120 6000 ВА/ 4200 Вт с внутренней батареей"]
[]
[null,"BATTERY CABINETS"]
["05147366-5501","BAT-cabinet for Powerware 9120 700 VA","Дополнительная батарея в шкафу и кабелем подключения для PW9120 700"]
["05147367-5501","BAT-cabinet for Powerware 9120 1000 VA","Дополнительная батарея в шкафу и кабелем подключения для PW9120 1000"]
["05147368-5501","BAT-cabinet for Powerware 9120 1500 VA","Дополнительная батарея в шкафу и кабелем подключения для PW9120 1500"]
["05147369-5501","BAT-cabinet for Powerware 9120 2000/3000 VA","Доп батарея в шкафу и кабелем подключения для PW9120 2000 и 3000"]
[1018291,"BAT-cabinet for Powerware 9120 5000/6000 VA","Доп батарея в шкафу и кабелем подключения для PW9120 5000 и 6000"]
[]
[null,"MECHANICAL BYPASS CABINETS*"]
[1014015,"Bypass cabinet for 700-2000VA","Щиток механического сервисного байпаса для ИБП PW9120  700-2000 ВА"]
[1014016,"Bypass cabinet for 3000VA","Щиток механического сервисного байпаса для ИБП PW9120  3000 ВА"]
[1014017,"Bypass cabinet for 5000&6000VA","Щиток механического сервисного байпаса для ИБП PW9120  5000 и 6000 ВА"]
[]
[null,"ISOLATION TRANSFORMER CABINETS*"]
[1018672,"Transformer option for 700-1500VA","Изолирующий трансформатор в шкафу для ИБП PW9120 700-1500 ВА"]
[1018673,"Transformer option for 2000-3000VA","Изолирующий трансформатор в шкафу для ИБП PW9120 2000 и 3000 ВА"]
[1018674,"Transformer option for 5000-6000VA","Изолирующий трансформатор в шкафу для ИБП PW9120 5000 и 6000 ВА"]
[]
["116750222-001 ","ConnectUPS-BD Web/SNMP card (for 9120,9170+)","Web/SNMP адаптер "]
["116750224-001     ","Environmental Monitoring Probe (EMP)","Датчик температуры и влажности (для работы с Web/SNMP адаптером)"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}